## Sheet1
S.No | DESCRIPTION | MODEL | PRICE
1 | HGB UNIT KX-21 (973-2841-7) | Symex KX-21
2 | PANEL KEYBOARD KX-21 (263-9534-9) | Symex KX-21
3 | SRV FIXED VALVE NO. 28-R ASSY (RW) (973-2811-5) | Symex KX-21
4 | TRANSDUCER NO. 8 (RW) (973-2831-0) | Symex KX-21
5 | WIRING CORD NO. 2364 (973-3131-5) | Symex KX-21
6 | VACCUM PARTS SET FOR PSL21 (443-6865-6) | Symex KX-21
7 | PRESSURE PART SET FOR PSL-21 (443-6866-0) | Symex KX-21
8 | PANEL KEYBOARD KX-21 | Symex KX-21
9 | Balow Unit | Symex KX-21
10 | T connector | Symex KX-21
11 | Transduser no 13 ass(rbc chamber) | Symex KX-21
12 | Pisten cylender | Symex KX-21
13 | air valve WTKV011-E1-PLL-DC12 （443-8660-4） | Symex KX-21
14 | air valve WTKV012-E1-PLL-DC12 （443-8656-9） | Symex KX-21
15 | air valve WTKV013 （443-8657-2） | Symex KX-21
16 | air valve WTKV014 （443-9650-1） | Symex KX-21
17 | air valve WTKV023-4E1-PLL-DC12 （443-9657-6） | Symex KX-21
18 | fan FBA09A12HAZ （281-0120-9） | Symex KX-21
19 | fitting NO.9-A （442-3460-8） | Symex KX-21
20 | KX-21 Printer Unit （983-0271-4） | Symex KX-21
21 | Nipple No.73 （442-3575-9） | Symex KX-21
22 | pcb No.2135 （261-0701-0）(Analoge Board) | Symex KX-21
23 | pcb No.4087 （261-0758-1） | Symex KX-21
24 | pcb No.6350 with Rom （662-0168-8） | Symex KX-21
25 | pcb No.6363 （261-0800-1） | Symex KX-21
26 | pipette No.57 （441-1634-7） | Symex KX-21
27 | SRV fixed valve No.28-L Assy （973-2801-8） | Symex KX-21
28 | SRV unit KX-21 （973-2761-6） | Symex KX-21
29 | Transducer No. 3 Assy (RBC) （903-2291-2） | Symex KX-21
30 | Transformer power PT-094 （241-2108-9） | Symex KX-21
31 | Tube polyurethane 1.8mm×3.4mm （442-5055-4） | Symex KX-21
32 | Tube polyurethane 4mmid×6mmod （442-5338-7） | Symex KX-21
33 | tube teflon 0.8mmid×1.8mmod （442-5418-8） | Symex KX-21
34 | tubing no.103 （442-8503-9） | Symex KX-21
35 | wiring cord No.2363 （973-3121-8） | Symex KX-21
36 | wiring cord No.2364 （973-3131-5） | Symex KX-21
37 | DIAPHRAGM PUMP ASSY NO.51 (0.2) (973-2941-2 ) | Symex KX-21
38 | DIAPHRAGM PUMP ASSY NO.52 (0.05) ( 973-2951-0 ) | Symex KX-21
39 | DIAPHRAGM PUMP ASSY NO.50 (1.0) ( 973-2921-8 ) | Symex KX-21
40 | DIAPHRAGM PUMP ASSY NO.49 (2.0) ( 973-2911-1 ) | Symex KX-21
41 | AIR FILTER F1000-6-B (443-2455-2 ) | Symex KX-21
42 | DIAPHRAGM PUMP ASSY NO.45 (0.5) (963-3661-9 ) | Symex KX-21
43 | DIAPHRAGM PUMP ASSY NO.48 (0.25) ( 973-2871-9) | Symex KX-21
44 | PIPETTE NO.57 (441-1634-7) | Symex KX-21
45 | AIR VALVE WTKV023-4E1-PLL-DC12 ( 443-9657-6) | Symex KX-21
46 | AIR VALVE WTKV012-E1-PLL-DC12 (443-8656-9 ) | Symex KX-21
47 | AIR VALVE WTKV024-4E1-PLL-DC12 ( 443-9658-0 ) | Symex KX-21
48 | VACUUM PARTS SET FOR PSL-21 (443-6865-6) | Symex KX-21
49 | PRESSURE PARTS SET FOR PSL-21( 443-6866-0) | Symex KX-21
50 | PNEUMATIC UNIT KX-21 (W/PSL-21) (973-2982-5) | Symex KX-21
POCH-100i
1 | HGB UNIT NO. 16 (013-2111-1) | Symex POCH-100I
2 | LCD MODULE KCS057QV1AJ-G32 (PM) (RW) (021-0392-8) | Symex POCH-100I
3 | PUMP ASSY NO. 6 | Symex POCH-100I
4 | SOLENOID VALVE LVM11-6A2-XS1 (443-2757-6) | Symex POCH-100I
5 | Solenoid Valve LVM11-6A3-XS1 (443-2758-0) | Symex POCH-100I
6 | SOLENOID VALVE LVM11-6B2-XS1 | Symex POCH-100I
7 | SOLENOID VALVE LVM11-6B3-XS1 | Symex POCH-100I
8 | TOUCH PANEL N010-0554-T001 | Symex POCH-100I
9 | JET NOZZLE POCH (PM) (031-0201-9) | Symex POCH-100I
10 | PCB NO. 3057 T1 (RW) (023-2131-1) | Symex POCH-100I
11 | PRINTER MECHANISM ( 001337 - 001 ) | Symex POCH-100I
12 | PCB NO. 3057T1 (023-2131-1) | Symex POCH-100I
13 | DET. Chamber POCH (PM) (031-0211-6) | Symex POCH-100I
14 | LCD MODULE | Symex POCH-100I
LCD MODULE KCS057QV1AJ-G32 (PM/C2)？
15 | PUMP CM-50-12B (RW) (443-6310-4) | Symex POCH-100I
16 | Opto sensor | Symex POCH-100I
17 | pinch valve comp. No.3(C-3) （013-1993-7） | Symex POCH-100I
18 | pinch valve comp. No.4 (023-2411-3) | Symex POCH-100I
19 | Memory card for back up | Symex POCH-100I
20 | pcb no.6374 (013-2181-2) | Symex POCH-100I
21 | pcb no.9301 (013-2191-0) | Symex POCH-100I
22 | cubitainer spout kit No.4 (023-2431-8) | Symex POCH-100I
23 | printer thermal ptmbl 1504A ( 281-7480-4) | Symex POCH-100I
24 | detector unit poch chassis-A (323-4713-5) | Symex POCH-100I
25 | nipple No.73 (442-3575-9) | Symex POCH-100I
26 | Nipple No 72 | Symex KX-21
27 | SRV KX-21 | Symex KX-21
28 | Transduser Brush | Symex KX-21
29 | Tutch Penal screan | Symex POCH-100I